CAT(Chloramphenicol Acetyl Transferase) assay

Purpose : To estimate transcriptional activity of target promoter, CAT is widely used as reporter gene. CAT assay is a detection system for CAT enzyme activity.

- 1.        Combine the following components ;

1(g of cell extract             X (l

[14C]Chloramphenicol         0.5 (l

40mM acetyl CoA             1 (l

dH2O                     58.5 (l

0.25M Tris-Cl (pH 7.5)     40 – X (l

------------------------------------------------

total        100 (l

40mM acetyl CoA = 352.4mg dissolved in 10ml of water ( Pharmacia 27-6200-02)

[14C]Chloramphenicol : 25(Ci / ml, 54mCi / mmol (Amersham CFA754)

- 2.        Incubate the mixture for 1hr at 37(C

- 3.        Add 400(l of ethyl acetate to the reaction. Vortex for 30sec. Centrifuge for 1min at 15000rpm in a 1.5ml microfuge.

- 4.        Transfer the supernatant ( ethyl acetate with extracted chloramphenicol ) to a fresh tube.

- 5.        Evaporate ethyl acetate in a SpeedVac concentrator for about 20min. Resuspend the sample in 10(l of ethyl acetate.

- 6.        Spot 10(l of the sample on the position above the edge of a TLC plate (SELECTO  CIENTIFIC Cat. # 11028). Develop the thin layer in a tank containing 200ml of 19:1  chloroform/methanol(v/v). The tank should be equilibrated 2hr prior to adding the thin layer, Add 190ml of chloroform, 10ml of methanol, and a piece of filter paper (approx. the size of the thin layer)    to the tank to equilibrate.

- 7.        Allow the chromatography to run 30min. Dry the TLC sheet in a fume hood.

- 8.        Cover the dried sheet with plastic wrap and carry out autoradiography.